XML Schema for

AMD2 CEMS Summary

Revision History

| Version | Date | Author(s) | Revision Notes |
| --- | --- | --- | --- |
| 0.1 | Oct-03-2018 | Environment and Resources | Initial document |
| 0.2 | Nov-11-2018 | Environment and Resources | Added missing field description |
| 1.0 | Nov-20-2018 | Environment and Resources | Updated schema namespace |
| 1.1 | Nov-28-2018 | Environment and Resources | Updated optional fields |
| 1.2 | Nov-30-2018 | Environment and Resources | Updated and embedded schema |
| 1.3 | Dec-05-2018 | Environment and Resources | Updated optionality fields |
| 1.4 | Dec-13-2018 | Environment and Resources | Updated schema |
| 1.5 | Dec-18-2018 | Environment and Resources | Updated schema |
| 1.6 | Jan-03-2019 | Environment and Resources | Updated and embedded schema |
| 1.7 | Jan-08-2019 | Environment and Resources | Added schema version and embedded schema |
| 1.8 | Feb-06-2019 | Air Policy | Added file naming convention to data dictionary |
| 1.9 | Jan-28-2020 | Environment and Resources | Updated and embedded schema; updated data dictionary |
| 2.0 | Jun-25-2021 | Environment and Resources | Updated and embedded schema; updated data dictionary |
| 2.1 | Apr-22-2022 | Air Policy | Updated embedded .xsd schema |
| 2.2 | Apr-25-2025 | Air Policy | Updated embedded .xsd schema |
| 2.3 | Oct-17-2025 | Air Policy | Updated embedded .xsd schema |

This document outlines the XML file format that is required for the submission of AMD2 CEMS Summary.

Please note that the possible values for some of the XML fields will be communicated later and minor changes to the XML Schema may be needed in the future.

The personal information collected through the AMD2 CEMS Summary is for the purpose of administering Alberta's Air Monitoring Directive. This collection is authorized under section 4(c) of the Protection of Privacy Act (POPA). If you have any questions about this collection of personal information, you may contact us by email at AMDFeedback@gov.ab.ca or you may write to Alberta Environment and Protected Areas, Air Policy Section, 1st floor, 9820 – 106 Street NW.

XML Schema

See attached:

File Naming Convention

Refer to required file naming conventions on the Air Monitoring Directive website:

EPEA Approval Industrial Monitoring Documentation Submission Naming Guideline

Field Descriptions

| Field | Description | Required |
| --- | --- | --- |
| EpeaApproval | EPEA approval number (8 digits) | Yes |
| CompanyName | Name of the company | Yes |
| AerId | AER ID | No |
| FacilityName | Name of the facility | Yes |
| FacilityContactName | Name of the facility contact | Yes |
| FacilityContactPhone | Phone of the facility contact | Yes |
| FacilityContactEmail | Email of the facility contact in format | Yes |
| ContractorCompany | Name of the contractor company | No |
| ContractorContactName | Contact name at the contractor company | No |
| ContractorContactEmail | Email of the contractor contact | No |
| AnnualEvaluationCompletedDuringMonth | True/false (Yes/No) value of annual evaluation was completed during the month | Yes |
| AnnualEvaluationCompletionDate | Annual evaluation completion date; e.g., 2018-01-10 | No |
| AnnualEvaluationPerformedByCompany | Company name which performed annual evaluation; e.g., ABC Associates | No |
| AnnualEvaluationPerformedByContact | Contact name who performed the annual evaluation; e.g., Joe Wu | No |
| Year | Year in YYYY format | Yes |
| Quarter | Quarter number as Q1, Q2, Q3, Q4 | No |
| Monthly | Collection of Monthly 1, Monthly 2, Monthly 3 (Quarterly) |  |
| Month | Name of the reporting month; e.g., January | Yes |
| Sources | Collection of Sources | Yes |
| UniqueSourceIdentifier | Unique source identifier; e.g., GT-1 | No |
| CemsStationId | CEMS station id; e.g., 12345 | Yes |
| MonthlyStackExhaustHours | Stack exhausted hours for the month; e.g., 744.25 | Yes |
| SourceName | Source name; e.g., Gas Turbine Exhaust Stack | Yes |
| Comments | General comments | No |
| Parameters | Collection of Source parameters | No |
| Name | Name of the parameter; e.g., Sulphur dioxide | Yes |
| ReportingUnits | Units in which the data has been reported; e.g., kg | Yes |
| CemsAnalyzerMake | Make of the CEMS analyzer; e.g., Thermo | Yes |
| CemsAnalyzerModel | Model of the CEMS analyzer; e.g., 42i | Yes |
| CemsAnalyzerSerialNumber | Serial number of the CEMS analyzer; e.g., TEI-42i2000 | Yes |
| DualRange | Is analyzer a dual range? True/fale value (Yes/No) | Yes |
| AnalyzerLowerRange | Range lower value of the analyzer; e.g., 0 | Yes |
| AnalyzerUpperRange | Range upper value of the analyzer; e.g., 100 | Yes |
| AnalyzerRangeUnits | Range units of the analyzer; e.g., ppm | Yes |
| SecondAnalyzerLowerRange | Range lower value of the second analyzer; e.g., 0 | No |
| SecondAnalyzerUpperRange | Range upper value of the second analyzer; e.g., 100 | No |
| Duration | Duration; e.g., 1HR | Yes |
| Interval | Internal; e.g., 1HR | Yes |
| CemsParameterizationOrDasConfigurationChanged | Any changes made to CEMS parametrization or DAS configuration? True/false (Yes/No) | Yes |
| TotalCemsOperationalHours | Total CEMS operational hours; e.g., 696.13 | Yes |
| CemsAnalyzerPercentAvailability | Total percentage for CEMS analyzer availability; e.g., 93.57 | Yes |
| MinimumReading | Minimum reading of the analyzer; e.g., 27.40 | Yes |
| MaximumReading | Maximum reading of analyzer; e.g., 68.90 | Yes |
| AverageReading | Average reading of the analyzer; e.g., 35.30 | Yes |
| MinimumEmissionRate | Minimum emission rate; e.g., 2.50 | No |
| MaximumEmissionRate | Maximum emission rate; e.g., 3.80 | No |
| AverageEmissionRate | Average emission rate; e.g., 3.15 | No |
| ApprovalLimit | Approval limit; e.g., 3.7 | No |
| OperationalModeCode | To report multiple operational mode codes (e.g., NOP, STU) add a line/lines to report against those mode codes | No |
| HoursExceedingLimits | Exceeding limits hours; e.g., 1 | No |
| MissingData | Is Data Missing? True/false (Yes/No) | Yes |
| MissingDataDescription | Description of monthly missing data; e.g., analyzer malfunction | No |
| Method1MissingData | Method 1- missing data as per CEMS User Manual (Hrs) | No |
| Method2MissingData | Method 2- missing data as per CEMS User Manual (Hrs) | No |
| Method3MissingData | Method 3- missing data as per CEMS User Manual (Hrs) | No |
| Method4MissingData | Method 4- missing data as per CEMS User Manual (Hrs) | No |
| OtherMissingDataMethod | Other methods- as authorized by Director (Hrs) | No |
| MissingDataComments | Missing data comments in written text format | No |
| PerformanceTestDoneDuringMonth | Performance test conducted this Month, Indicate Test Type; e.g., RATA; if none No Test should be selected | Yes |
| PerformanceTestFrequency | Current Annual RATA and CGA Frequency; e.g., 2RATA/2CGA. If RATA/CGA frequency changes, this is where that would be indicated. Add comments for "other" option, including authorization obtained. | No |
| PerformanceTestDate | Date of the performance test; e.g., 2018-01-16 | No |
| TemporaryAnalyzerInstalled | Was a new or temporary analyzer installed? Choose this option for replacing an analyzer, swapping in a spare OR use of temporary replacement monitoring (e.g., third-party CEMS). True/false (Yes/No) | No |
| MethodUsedForDailyVerifications | Method used for daily verifications; e.g., Test gas | Yes |
| NumberOfOutOfControlEvents | Number of out of control events; e.g., if no out-of-control events, enter 0 | No |
| NumberHoursOutOfControl | Number hours out of control. Enter comments to summarize out-of-control events. | No |

Reference Links

XML Overview

Schema Overview