XML Schema for

AMD4 CGA Summary

Revision History

| Version | Date | Author(s) | Revision Notes |
| --- | --- | --- | --- |
| 0.1 | Oct 03-2018 | Environment and Resources | Initial document |
| 0.2 | Oct 09-2018 | Environment and Resources | Updated schema |
| 1.0 | Nov-20-2018 | Environment and Resources | Updated schema namespace |
| 1.1 | Nov-28-2018 | Environment and Resources | Updated optional fields |
| 1.2 | Dec-08-2018 | Environment and Resources | Updated and embedded schema; updated data dictionary |
| 1.3 | Dec-12-2018 | Environment and Resources | Updated schema with certified gas changes and data dictionary with optional fields |
| 1.4 | Dec-18-2018 | Environment and Resources | Updated schema with certified gas changes and data dictionary with optional fields |
| 1.5 | Jan-08-2019 | Environment and Resources | Added schema version and embedded schema |
| 1.6 | Feb-06-2019 | Air Policy | Added file naming convention to data dictionary |
| 1.7 | Jun-21-2019 | Air Policy | Updated field description for PrimarySummary, SecondaryOrDualSpanSummary |
| 1.8 | Jan-28-2020 | Environment and Resources | Updated and embedded schema; updated data dictionary |
| 2.0 | Jun-25-2021 | Environment and Resources | Updated and embedded schema; updated data dictionary |
| 2.1 | Apr-22-2022 | Air Policy | Updated embedded .xsd schema |
| 2.2 | Apr-25-2025 | Air Policy | Updated embedded .xsd schema |
| 2.3 | Oct-17-2025 | Air Policy | Updated embedded .xsd schema |

This document outlines the XML file format that is required for the submission of AMD4 CGA Summary.

Please note that the possible values for some of the XML fields will be communicated later and minor changes to the XML Schema may be needed in the future.

The personal information collected through the AMD4 CGA Summary is for the purpose of administering Alberta's Air Monitoring Directive. This collection is authorized under section 4(c) of the Protection of Privacy Act (POPA). If you have any questions about this collection of personal information, you may contact us by email at AMDFeedback@gov.ab.ca or you may write to Alberta Environment and Protected Areas, Air Policy Section, 1st floor, 9820 – 106 Street NW.

XML Schema

See attached:

File Naming Convention

Refer to required file naming conventions on the Air Monitoring Directive website:

EPEA Approval Industrial Monitoring Documentation Submission Naming Guideline

Field Descriptions

| Field | Description | Required |
| --- | --- | --- |
| EpeaApproval | EPEA approval number (8 digits) | Yes |
| CompanyName | Name of the company | Yes |
| FacilityName | Name of the facility | Yes |
| AerId | AER ID | No |
| FacilityContactName | Name of the facility contact | Yes |
| FacilityContactPhone | Phone of the facility contact; e.g., 555-555-1234 | Yes |
| FacilityContactEmail | Email of the facility contact; e.g., abc@xyz.com | Yes |
| CGAConductor | Name of the Contractor Company | Yes |
| LeadPersonConductingCGA | Contact name at the contractor company | Yes |
| ContractorNameSubmittingForm | Name of the contractor who is submitting | No |
| ContractorContactEmail | Email of the contract contact; e.g., abc@xyz.com | No |
| Year | Year in YYYY format | Yes |
| Month | Name of the reporting month; e.g., January | Yes |
| Parameters | Collection of each CGA parameter | Yes |
| Name | Name of the parameter monitored; e.g., Nitrogen Oxides | Yes |
| UniqueSourceIdentifier | Unique source identifier; e.g., P1 | No |
| CemsStationId | CEMS station id; e.g., 19040 | Yes |
| CemsAnalyzerSerialNumber | CEMS analyzer serial number; e.g., 2038557 | Yes |
| CemsAnalyzerMake | CEMS analyzer make; e.g., advance optima | Yes |
| CemsAnalyzerModel | CEMS analyzer model; e.g., A02040 | Yes |
| SourceName | Source name; e.g., Reformer Stack | Yes |
| CemsAnalyzerLowerRange1 | CEMS analyzer lower range 1; e.g., 0 | Yes |
| CemsAnalyzerLowerRange2 | CEMS analyzer lower range 2 in number; | No |
| CemsAnalyzerUpperRange1 | CEMS analyzer upper range 1; e.g., 120 | Yes |
| CemsAnalyzerUpperRange2 | CEMS analyzer upper range 2 in number; | No |
| CemsAnalyzerRangeUnits1 | CEMS analyzer range units 1; e.g., ppm | Yes |
| CemsAnalyzerRangeUnits2 | CEMS analyzer range units 2; e.g., ppm | No |
| AuditStartDate | Audit start date and time in format: YYYY-MM-DDThh:mm:ss.ttt | Yes |
| AuditEndDate | Audit end date and time in format: YYYY-MM-DDThh:mm:ss.ttt | Yes |
| Comment | General comments | No |
| PrimarySummary, SecondaryOrDualSpanSummary | Certified gases low, mid and high level gases summary | Yes (primary or second) |
| LowLevelGas, MidLevelGas, HighLevelGas |  | Yes |
| Protocol1CylinderID | Low, mid and high level protocol 1 cylinder gas id; e.g., 21-TFE-6988 | Yes |
| Concentration | Low, mid and high level gas concentration; e.g., 0.00 | Yes |
| ConcentrationUnits | Low, mid and high level gas concentration units; e.g., ppm | Yes |
| ExpiryDate | Low, mid and high level gas expirty date; e.g., 2020-05-09 | Yes |
| PercentFullScale | Low, mid and high level gas percent of full scale; e.g., 0.00-20, 40-60, 80-100 | Yes |
| CylinderPressure | Low, mid and high level gas cylinder pressure (psi); e.g., 2000.00 | Yes |
| DeliveryPressure | Low, mid and high level gas delivery pressure (psi); e.g. 20.00 | No |
| CemsResponse1Concentration | CEMS response 1 concentration; e.g., 0.40 | No |
| CemsResponse2Concentration | CEMS response 2 concentration; e.g., 0.40 | No |
| CemsResponse3Concentration | CEMS response 3 concentration; e.g., 0.40 | No |
| AvergeResponse | Average response; e.g., 0.30 | No |
| CalculatedPercentLinearity | Calculated percent linearity; e.g., -0.25 | No |
| CemsCriteriaBasedOnAlbertaCemsCode | CEMS criteria based on Alberta code (% change); e.g., 2.0 | Yes |
| ResultsMeetCemsSpecifications | Results met CEMS specifications? (Yes,No,Incomplete test). Note: if "Incomplete test" is chosen, explain in general comments. | Yes |
| CorrectiveActionBriefDescription | Brief description of corrective actions; e.g., n/a | No |
| SystemAcceptable | System acceptable? True/false (Yes/No) | Yes |

Reference Links

XML Overview

Schema Overview