Analyzer Calibration:	Indicate parameter.

| Date: | Click here to enter a date. |  |  |
| --- | --- | --- | --- |
| Location: | Click here to enter text. | Temperature: | °C |
| Performed by: | Name of operator | Barometric Pressure: | Text. |

| Monitor: |  |  |  |
| --- | --- | --- | --- |
| Make/model: | Make/model | Serial number:: | s/n |
| Inlet flow (sccm): | Inlet flow. | Range ppm: | Range. |
| Last calibration date: | Click to enter date. | As found Cc/Ci: | Cc/Ci. |
|  | Before Calibration: |  | After Calibration: |
| Background PPB: | Bkgd | Background PPB: | Bkgd |
| Coefficient: | Coefficient | Coefficient: | Coefficient |
| Span Value: | Span value | Span Value: | Span value |

| Calibration Method: Method |  |  |  |
| --- | --- | --- | --- |
| Calibrator: |  |  |  |
| Make/model: | Make/model | Serial number: | s/n |
| Gas Cylinder #: | Cylinder number | Concentration (ppm): | ppm |
| Flow Device #: | Flow device number | Zero Air ID#: | ID number |
| Calibration standard certificate expiration date: Click here to enter a date. |  |  |  |

| Calibrator Reference Settings: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Flows | Zero | High | Mid | Low |
| Dilution | # | # | # | # |
| Gas |  | # | # | # |

Calibration:

| Calibrator Measured Flow (sccm) |  |  | Calculated Concentration (Cc) | Indicated Concentration (Ci) (ppm) |  | Cc/Ci Ratio |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Air | Gas | Total | (ppm) | Initial | Final | Initial | Final |
| # | 0.00 | # | 0.0000 | # | # |  |  |
| # | # | # | # | # | # | # | # |
| # | # | # | # |  | # |  | # |
| # | # | # | # |  | # |  | # |
|  |  |  | Average Correction Factor (CF) = |  |  | # |  |
| True Concentration (ppm): |  |  | Indicated conc (ppm)* Average CF |  |  |  |  |

| Linear Regression Analysis: | Y = mx + b (where x = calculated concentration, y = indicated concentration) |
| --- | --- |
| Correlation Coefficient | = # |
| m (slope) | = # |
| b (intercept as % of full scale) | = # |

Remarks: Click here to enter text.

Next Calibration due by: Click here to enter a date.