| Date: | Click here to enter a date |  |  |
| --- | --- | --- | --- |
| Location: | Click here to enter text | Temperature: | °C |
| Performed by: | Name of operator | Barometric Pressure: | Text. |

| Monitor: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Make/model: | Make/model | Serial number:: | s/n |  |  |
| Inlet flow (sccm): | Inlet flow. | Range ppm: | CH4 Range | NMHC Range | THC Range |
| Last calibration date: | Click to enter date | As found Cc/Ci: | CH4 Cc/Ci. | NMHC Cc/Ci. | THC Cc/Ci. |

|  | Before Calibration: |  | After Calibration: |
| --- | --- | --- | --- |
| CH4 Cal Factor: | Factor | CH4 Cal Factor: | Factor |
| NMHC Cal Factor: | Factor | NMHC Cal Factor: | Factor |
| THC Cal Factor: | Factor | THC Cal Factor: | Factor |
| Span Value (CH4/NMHC): | Span value | Span Value (CH4/NMHC): | Span value |

| Calibration Method: Method |  |  |  |
| --- | --- | --- | --- |
| Calibrator: |  |  |  |
| Make/model: | Make/model | Serial number: | s/n |
| Flow Device #: | Flow device number | Zero Air ID#: | ID number |
| Gas Cylinder #: | Cylinder number |  |  |

| CH4 Conc (ppm): | # | CH4 Equiv (propane only) (ppm): | # |
| --- | --- | --- | --- |
| Propane Conc (ppm): | # | Total CH4 Equiv (ppm): | # |
| Calibration standard certificate expiration date: Click here to enter a date. |  |  |  |

| Calibrator Reference Settings: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Flows | Zero | High | Mid | Low |
| Dilution | # | # | # | # |
| Gas |  | # | # | # |

Calibration:

| Calibrator Measured |  |  | Calculated Conc. |  |  | Indicated Conc. (Ci) |  |  |  |  |  | Final |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Flows |  |  | (Cc) (ppm) |  |  | CH4 |  | NMHC |  | THC |  |  | Cc/Ci |  |
| Air | Gas | Total | CH4 | NMHC | THC | Initial | Final | Initial | Final | Initial | Final | CH4 | NMHC | THC |
| # | 0.00 | # | # | 0.0000 | 0.0000 | # | # | # | # | # | # |  |  |  |
| # | # | # | # | # | # | # | # | # | # | # | # | # | # | # |
| # | # | # | # | # | # |  | # |  | # |  | # | # | # | # |
| # | # | # | # | # | # |  | # |  | # |  | # | # | # | # |

|  |  | Average Correction Factors (CF) = | # | # | # |
| --- | --- | --- | --- | --- | --- |

| Linear Regression Analysis: | Y = mx + b (where x = calculated concentration, y = indicated concentration) |
| --- | --- |

|  | CH4 | NMHC | THC |
| --- | --- | --- | --- |
| Correlation Coefficient: | # | # | # |
| m (slope): | # | # | # |
| b (intercept as % of full scale): | # | # | # |

Remarks: Click here to enter text

Next Calibration due by: Click here to enter a date