| Date: | Click here to enter a date |  |  |
| --- | --- | --- | --- |
| Location: | Click here to enter text | Temperature: | °C |
| Performed by: | Name of operator | Barometric Pressure: | Text |

| Monitor: |  |  |  |
| --- | --- | --- | --- |
| Make/model: | Make/model | Serial number:: | s/n |
| Inlet flow (sccm): | NO/NOx inlet flow | Range ppm: | Range. |
| Last calibration date: | Click to enter date. | As found Cc/Ci: | Cc/Ci |

Before Calibration: 	After Calibration:

|  | NO | NOx | NO2 |  | NO | NOx | NO2 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Background: | Bkgd | Bkgd | Bkgd | Background: | Bkgd | Bkgd | Bkgd |
| Coefficient: | Coeff | Coeff | Coeff | Coefficient: | Coeff | Coeff | Coeff |
| Volts | Volts | Volts | Volts | NO2 Coeff 2: | -- | -- | Coeff 2 |
| Span Value: | Span value | Span value | Span value | Span Value: | Span value | Span value | Span value |

| Calibration Method: Method |  |  |  |
| --- | --- | --- | --- |
| Calibrator: |  |  |  |
| Make/model: | Make/model | Serial number: | s/n |
| Gas Cylinder #: | Cylinder number | Concentration (ppm): | NO: ppm NOx: ppm |
| Flow Device #: | Flow device number | Zero Air ID#: | ID number |
| Calibration standard certificate expiration date: Click here to enter a date. |  |  |  |

| Calibrator Reference Settings: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Flows | Zero | High | Mid | Low |
| Dilution | # | # | # | # |
| Ozone | # | # | # | # |
| Gas |  | # | # | # |

Calibration NO/NOx:

| Calibrator Measured Flows |  |  | Calculated Conc. |  | Indicated Conc. (Ci) |  |  |  | Final |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (Cc) (ppm) |  | NO |  | NOx |  | NO | NOx |
| Air | Gas | Total | NO | NOx | Initial | Final | Initial | Final | Cc/Ci | Cc/Ci |
| # | # | # | # | # | # | # | # | # |  |  |
| # | # | # | # | # | # | # | # | # | # | # |
| # | # | # | # | # |  | # |  | # | # | # |
| # | # | # | # | # |  | # |  | # | # | # |

|  |  | Average Correction Factors (CF) = | # | # |
| --- | --- | --- | --- | --- |

Calibration NO2:

|  |  |  | Indicated Conc. (Ci) |  |  |  |  | NO2 Increase |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| O3 Setting | Flow Rate |  | NO (ppm) | NOx (ppm) | NO2 (ppm) Initial | NO2 (ppm) Final | NO Decrease | Initial | Final | Final Cc/Ci |
| # | # |  | # | # | # |  | # | # | # |  |
| # | # |  | # | # | # | # | # | # | # | # |
| # | # |  | # | # |  | # | # |  | # | # |
| # | # |  | # | # |  | # | # |  | # | # |

|  |  | Average Correction Factor (CF) = | # |
| --- | --- | --- | --- |

| Converter efficiency (average value): | Value |
| --- | --- |

| Linear Regression Analysis: | Y = mx + b (where x = calculated concentration, y = indicated concentration) |
| --- | --- |

|  | NO | NOx | NO2 |
| --- | --- | --- | --- |
| Correlation Coefficient: | # | # | # |
| m (slope): | # | # | # |
| b (intercept as % of full scale): | # | # | # |

Remarks: Click here to enter text.

Next Calibration due by: Click here to enter a date.