| Date: | Click here to enter a date |  |  |
| --- | --- | --- | --- |
| Location: | Click here to enter text | Temperature: | °C |
| Performed by: | Name of operator | Barometric Pressure: | Text |

| Monitor: |  |  |  |
| --- | --- | --- | --- |
| Make/model: | Make/model | Serial number:: | s/n |
| Inlet flow (sccm): | NO/NOx/NT inlet flow | Range ppm: | NO/NOxNO2 |
| Last calibration date: | Click to enter date | As found Cc/Ci: | NO: Cc/Ci NOx Cc/Ci |
|  |  |  | NT: Cc/Ci NO2: Cc/Ci |

Before Calibration:

|  | NO | NOx | NT | NO2 | NH3 |
| --- | --- | --- | --- | --- | --- |
| Background: | Bkgd | Bkgd | Bkgd | Bkgd | Bkgd |
| Coefficient: | Coeff | Coeff | Coeff | Coeff 1 | Coeff 1 |
| Coefficient 2: | -- | -- | -- | Coeff 2 | Coeff 2 |
| Span Value: | Span value | Span value | -- | Span value | Span value |

After Calibration:

|  | NO | NOx | NT | NO2 | NH3 |
| --- | --- | --- | --- | --- | --- |
| Background: | Bkgd | Bkgd | Bkgd | Bkgd | Bkgd |
| Coefficient: | Coeff | Coeff | Coeff | Coeff 1 | Coeff 1 |
| Coefficient 2: | -- | -- | -- | Coeff 2 | Coeff 2 |
| Span Value: | Span value | Span value | -- | Span value | Span value |

| Calibration Method: Method |  |  |  |
| --- | --- | --- | --- |
| Calibrator: |  |  |  |
| Make/model: | Make/model | Serial number: | s/n |
| Gas Cylinder #: | Cylinder number | Concentration (ppm): | NO: ppm NOx: ppm NT: 0 |
| Flow Device #: | Flow device number | Zero Air ID#: | ID number |
| Calibration standard certificate expiration date: Click here to enter a date |  |  |  |

| Calibrator Reference Settings: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Flows | Zero | High | Mid | Low |
| Dilution | # | # | # | # |
| Ozone | # | # | # | # |
| Gas |  | # | # | # |

Calibration NO/NOx/NT:

| Calibrator Measured |  |  | Calculated Conc. |  |  | Indicated Conc. (Ci) |  |  |  |  |  | Final |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Flows |  |  | (Cc) (ppm) |  |  | NO |  | NOx |  | NT |  |  | Cc/Ci |  |
| Air | Gas | Total | NO | NOx | NT | Initial | Final | Initial | Final | Initial | Final | NO | NOx | NT |
| # | 0.000 | # | 0.0000 | 0.0000 | 0.0000 | # | # | # | # | # | # |  |  |  |
| # | # | # | # | # | # | # | # | # | # | # | # | # | # | # |
| # | # | # | # | # | # |  | # |  | # |  | # | # | # | # |
| # | # | # | # | # | # |  | # |  | # |  | # | # | # | # |

|  |  | Average Correction Factors (CF) = | # | # | # |
| --- | --- | --- | --- | --- | --- |

Calibration NO2:

|  |  |  | Indicated Conc. (Ci) |  |  |  |  | NO2 Increase |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| O3 Setting | Flow Rate |  | NO (ppm) | NOx (ppm) | NO2 (ppm) Initial | NO2 (ppm) Final | NO Decrease | Initial | Final | Final Cc/Ci |
| # | # |  | # | # | # |  | # | # | # |  |
| # | # |  | # | # | # | # | # | # | # | # |
| # | # |  | # | # |  | # | # |  | # | # |
| # | # |  | # | # |  | # | # |  | # | # |

|  |  | Average Correction Factor (CF) = | # |
| --- | --- | --- | --- |

| Converter efficiency (average value): | Value |
| --- | --- |

| Linear Regression Analysis: | Y = mx + b (where x = calculated concentration, y = indicated concentration) |
| --- | --- |

|  | NO | NOx | NT | NO2 |
| --- | --- | --- | --- | --- |
| Correlation Coefficient: | # | # | # | # |
| m (slope): | # | # | # | # |
| b (intercept as % of full scale): | # | # | # | # |

Remarks: Click here to enter text.

Next Calibration due by: Click here to enter a date