| Section Cover Page |  |
| --- | --- |
| Section 00 01 30 2022-10-31 Drawings and Documents |  |  |

Use this Section to list all Drawings and Record Documents being issued with the Bid and Contract Documents.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

1.	Drawings

2.	Record Documents

Drawings:

.1	Include contract drawings of existing layouts, that would indicate a scope of services to be performed, ie:  floor plans, site plans, as they apply to a specific contract.

Record documents could include such items as:

.1	Previous service records of a particular machine or component.

.2	Inventory of equipment to be serviced.

.3	Shop Drawings.

.4	Such record documents should be inserted into bid documents after this Section.

1.	DRAWINGS

.1	The following is a list of Contract Drawings:

Number	Title	Date

2.	RECORD DOCUMENTS

.1	The following is a list of record documents that append this Section but is issued for information purposes only and shall not be included nor considered as part of the Contract Documents:

Title

END OF SECTION