Section Cover Page

Section 12 59 00 2025-04-03 Furniture Systems

This section describes the general requirements performance and the capabilities of the integrated Furniture System.

An integrated Furniture System is defined as: A Manufacturer’s product or combination of Manufacturer’s product lines that will work together to provide a seamless reconfiguration and flexible platform, through shared components, interconnections, and finish logic.

This section is a companion to the Technical Design Guidelines for Alberta Infrastructure Facilities (TDR): Section “3.0 Interior Design” and Appendix J – “Accommodation Guidelines and Requirements for Office Space”.

This Master Specification Section contains:

.1	This cover sheet

.2	LEED Notes and Credits

.3	Specification Section text:

1.	General

1.1	Design Requirements

1.2	Reference Documents

1.3	Ergonomics

1.4	Open Office Furniture

1.5	Enclosed Office Furniture

2.	Products

3.	Execution

- General

1.1 	DESIGN REQUIREMENTS

SPEC NOTE: This section describes the general requirements concerning the performance requirements and the capabilities of the Furniture Systems.  The Furniture Systems shall be an integrated system.

An integrated product offering is defined as: A Manufacturer’s product or combination of Manufacturer’s product lines that will work together to provide a seamless reconfiguration and flexible platform, through shared components, interconnections, and finish logic.  All components shall be from the same Manufacturer allowing them to be interchangeable, regardless of whether or not they are from the same manufactured product line.

.1	The furniture Manufacturer shall utilize the following principles:

.1	All Furniture Systems shall work together to provide a flexible, and completely reconfigurable work environment ranging from an integrated open work environment to an enclosed office environment.

.2	Furniture shall be easily reconfigured to minimize Purchaser downtime.

.2	Environmental issues shall be taken into consideration by the Manufacturer. The Manufacturer shall ensure that a combination of the above measures, as applicable, is an integral part of the manufacturing process for the furniture. Upon request from the Corporate Purchasing Section, the vendor shall provide within three (3) Business Days, documents to demonstrate how emissions are controlled and that the emission control is an integral part of the manufacturing process for the furniture.

.3	Low-emitting UF-bonded board products or phenol-bonded products may be provided by the vendor. The vendor agrees to provide, in every instance possible, Furniture Systems that has no added urea-formaldehyde other than that which is naturally present.

.4	The vendor shall provide Environmental Choice Program or UL EcoLogo® certified Furniture Systems. The vendor shall ensure all wood veneer is Forest Stewardship Council of Canada certified wood. Upon request from the Corporate Purchasing Section, the vendor shall provide within three (3) Business Days, documents to demonstrate the Furniture Systems is Environmental Choice Program, UL EcoLogo® certified, or Forest Stewardship Council of Canada certified wood.

.5	Vendor to provide standard manufacturers’ warranty.

1.2	REFERENCE DOCUMENTS

.1	ASTM International (ASTM):

.1	ASTM D3359-17, Standard Test Methods for Rating Adhesion by Tape Test

.2	ASTM D3618-05 (2015) – Standard Test Method for Detection of Lead in Paint and Dried Paint Films;

.3	ASTM D4060-19, Standard Test Method for Abrasion Resistance of Organic Coatings by the Taber Abrader;

.4	ASTM E413-16, Classification for Rating Sound Insulation;

.2	Business and Institutional Furniture Manufacturers Association

.1	ANSI/BIFMA X5.3-2007 (R2012), Vertical Files

.2	ANSI/BIFMA X5.5-2021, American National Standard for Office and Institutional Furnishings – Desk and Table Products;

.3	ANSI/BIFMA X5.6-2016 (R2021), Panel Systems - Tests

.4	ANSI/BIFMA E3-2019 Furniture Sustainability Standard.

.5	BIFMA M7.1-2011 (R2021), Test Method for Determining VOC Emissions from Office Furniture Systems, Components, and Seating;

.6	ANSI/BIFMA X7.1-2011 (R2021), Standard for Formaldehyde and TVOC Emissions of Low-Emitting Office Furniture Systems and Seating;

.3	CSA Group (CSA):

.1	CAN/CSA-C22.2, No.203-16 (R2021) Modular Wiring Systems for Office Furniture;

.4	National Building Code of Canada (NBCC)

.1	NBCC, 3.1.13.2 (4) For Interior Finishes, Furnishings and Decorative Materials;

.5	UL Canada (ULC):

.1	ULC Fire rated Class-A for Interior, Top Coats, Varnish, and Special Coats;

.2	ULC-S102.2, Method of Test for Surface Burning Characteristics of Flooring, Floor Coverings, and Miscellaneous Materials. (ULC S102.2).

.3	ULC-102, Standard Method of Test for Surface Burning Characteristics of Building Materials and Assemblies (ULC S102)

.4	ULC-S109 – Flame Tests of Flame Resistant Fabrics and Films (CAN/ULC S109-14).

1.3	ERGONOMICS

.1	The vendor shall ensure that ergonomic principles are incorporated into the Furniture Systems such as ease of adjustment, intuitive controls, and soft/eased edges.

.2	The vendor shall provide Furniture Systems with reconfigurable surfaces that shall not have edges that prevent the user from having clearance.

.3	The Furniture Systems product line shall comply with the following:

.1	Pin height/standard height increments for surface support shall accommodate for 95th percentile of population anthropometrics as set out in anthropometric allowances – BIFMA G1 – 2013.

.2	Have user height adjustability incorporated into the Furniture Systems.

.3	Have electric adjustability incorporated into the Furniture Systems for adjustment by the user.

.4	Have sit-stand workstations that can be stand-alone.

.5	Have user adjustability instructions in either manual form or online video form. The vendor shall provide this information to the Purchaser.

.6	Must allow the user to have a neutral posture while working.

.7	Allow adjustment that addresses seated elbow height, standing elbow height, keyboard/mouse height, paperwork height, near reach zone, popliteal height, seated eye height, and screen center height.

1.4	OPEN OFFICE FURNITURE

SPEC NOTE: This section describes the minimum requirements for furniture in open offices, as further set out in Schedule ‘D’ herein.

.1 	General Furniture Systems

.1	The finished panels, connecting assemblies and components shall be uniform in quality, style, material, and workmanship and shall be clean and free from any defects that may affect appearance, serviceability, or safety.

.2	When Furniture System is assembled, there shall be no visible unfinished edges or surfaces. Panel edges, including trims, tops, end caps and connecting assemblies with which the user, public, or persons maintaining the system may come in contact, shall have all corners and edges eased or radiused.

.3	All welds shall be structurally sound, free from cracks and surface voids. They shall be clean, smooth, and uniform in appearance and free from scale, flux, trapped foreign matter and any other inclusions that may be detrimental to the application of the primer of the final finish.

.4	All surface wood veneer, printed substrate surfaces, and plastic laminate shall have a balance sheet to minimize warping and bowing. Worksurface substrate shall be constructed from, at minimum, Medium Density Fiberboard (MDF).

.5	The fabric section of any panel shall be without any sewn or glued seams. Panel fabric shall be installed with concealed edges to prevent fraying and shall be sufficiently stable that no snags or wrinkles shall appear on the finished screen. Panel fabric shall be stretched straight of grain.

.6	Hardware used in assembling components and connecting panels shall allow for repeated assembly, disassembly, and reconfiguration. Assembly of panels shall not require any specialized tools.

.2	Acoustics

Improving acoustical privacy and minimizing noise distractions in open plan office environments is an important wholistic design consideration in workstation furniture selection. One effective strategy is to use workstation panels that meet a minimum height requirement and have moderately high sound ratings. By adhering to recommended standards for Sound Transmission Class (STC) and Noise Reduction Coefficient (NRC), these panels measurably and substantially reduce sound transmission between workstations and minimize reverberation through sound absorption. This enhances acoustical privacy, reduces noise distractions, and ultimately improves acoustic comfort, creating a more conducive work environment.

.1	Acoustic: panels over 1500 mm high (60") shall have an NRC rating of not less than 0.65 when tested to ASTM C423-90a using a straight, flat screen and an STC rating of not less than 20 as defined by ASTM E413 when tested in accordance with ASTM E-90.

.2	High performance acoustic: panels over 1500 mm high (60") shall have an NRC rating of not less than 0.65 when tested to ASTM C423-90a using a straight, flat screen and an STC rating of not less than 20 as defined by ASTM E413 when tested in accordance with ASTM E-90. Note that the NRC requirement is not applicable (can be waived) for sealed glazing units.

.3	All panels to have acoustical inserts to assist with achieving the required STC rating.

.4	Non-acoustic: All other panels not meeting the requirements as set out above.

.3 	Panel Heights

.1	Wheelchair access range 1067mm (42”) maximum. Note: No stacks required to achieve this base panel height.

.2	Transaction/worksurface privacy range – 1067 mm - 1143mm (42" – 45”). Note: base panel transaction/worksurface privacy height.

.3	Seated privacy range – 1372 mm± - 1524 mm (54” ± -60").  Note: base panel plus one (1) stack to achieve seated privacy range.

.4	Full standing privacy – 1829 mm (72"). Note: base panel plus up to two (2) stacks to achieve full standing privacy only in high traffic areas such as printer areas.

.5	Base panel height must be 34” (864mm) minimum to 42” (1067mm) maximum.

.4	Panels

.1	When specified in [Schedule ‘C’] herein, 610 mm (24”), 762 mm (30"), 1067 mm (42”) and 1219 mm (48”) panels with freestanding furniture on three sides while maintaining a 90 degree corner.

.2	Panels shall be stackable to make it possible to change the height without dismantling the workstations. Monolithic panels with inserts to create the visual height of stacks to achieve the above heights are not acceptable.

.3	First stacking component shall be loadbearing.

.4	Stackable panel tiles shall be available in fabric upholstered, glazed, metal finish, laminate finish, accessory rail, white board, and wood finish on one or both sides.

.5	The panels shall be stable, stand straight and plumb when interconnected.

.6	The maximum height variance of same height panels when interconnected shall be 3 mm (1/8").

.7	All fabric panel surfaces above 1600 mm (44”) shall be of panel class acoustic.

.8	Load bearing panels shall have a mounting system, which shall be an integral part of the assembled panel and run the full height of both sides of the panel at each end. The vertical uprights shall be slotted at a maximum of 25 mm (1") centers for component attachment. There shall be no visible gaps when installed.

.9	Panels shall be able to accommodate panel mounted storage components and stand straight and plumb.

.10	Panel connections shall be a metal-to-metal and panel-to-panel system.

.11	Each panel shall be equipped with a minimum of two (2) glides with a minimum vertical adjustment of 38 mm (1.5") and comply with the following:

.1	A fastening device designed to prevent glides becoming loosen or detached under normal use conditions shall secure the glides;

.2	Glides shall have the ability to accept carpet grippers; and

.3	Glides shall be concealed.

.12	Panel base covers shall have knockouts to receive offset electrical outlets as noted in the Kit-of-Parts section herein:

.13	The base covers shall be opened without the use of special tools and shall close tightly.  Base covers shall not easily become dislodged.

.14	All unused knockouts/access points, which are visible under normal use or installation, shall be covered with matching finish cover to prevent unsightly openings and shall be covered upon the Purchaser’s request.

.15	Unless the finish of the panel top, ends and corner linking devices are integrated in the design of the panel, the system shall provide panel tops, panel end trims and corner covers that can be attached to the panel. These shall be attached without visible connecting devices.

.16	All panel surfaces shall be removable for cleaning or replacement without the panel frame being removed from the partition system installation.

.5	Electrical

.1	The electrical system shall be made of components, which are integral, modular, capable of providing power at needed locations, and of being reconfigured without altering or disassembling the panel system.

.2	Electrical receptacles shall be accessible at the [base], and [below worksurface].

.3	If the powered panels have raceways accessible from both sides of the panel at desk height, each powered panel 610 mm (24") shall have space for a minimum of four (4) single outlets or two (2) duplex outlets.

.4	Each powered panel 762 mm (30") or greater shall have space for a minimum of eight (8) single outlets or four (4) duplex outlets.

.5	Receptacles shall be interchangeable anywhere along the wiring harness.

.6	The raceway access shall be opened and closed tightly without special tools.

.7	Panel systems shall include integrated concealed wire management capabilities by means of raceways.

.8	All powered and non-powered panels shall have raceways capable of accommodating a minimum of five pair category 6 UTP cables.

.9	The raceways shall provide sufficient space to allow for a bend radius of 76 mm (3") - with an acceptable variance of ± 38 mm (1 1/2”) - for the installation of communication cables both horizontal and vertical.

.10	Non-powered raceways shall be capable of field conversion to powered raceways without requiring the workstation to be dismantled.

.11	The raceways shall provide for floor, ceiling, and end of panel access.

.12	Separation shall be provided in the panel raceway to provide an isolated space for routing data and telecommunications cable.

.13	Wire clips shall be provided to manage a minimum of three (3) sets of cables of 3 meters length each per workstation.

.14	Raceways shall be free from sharp edges and have neatly designed covers and releasable cable ties to allow easy installation of wiring.

.15	Covers shall be easily snapped into place or removed.

.16	The number of electrical outlets, voice and data required will be indicated by Purchaser on the standard furniture layouts.

.6	Worksurfaces

.1	The worksurface shall have an edge radius of at least 3 mm (1/8") integral PVC hard edging, or other flexible materials. T-mould edge not acceptable.

.2	The worksurface shall have a minimum thickness of 25 mm (1”) with an acceptable variance that does not exceed an overall thickness of 38mm (1 1/2”)- and shall be made of medium density core material or steel reinforced construction, finished with a minimum of 0.8 mm (.032") thick high- pressure textured laminate.

.3	The worksurface material shall meet the physical property requirements as stated in ANSI/NEMA LD3-2005: The following grades are considered acceptable:  HGS and HGL under General Purpose, and HGL under post formed.

.4	For other worksurface material the ANSI/BIFMA standards shall be used.

.5	The worksurfaces, in systems equipped with base raceways, shall provide access to the raceway with a minimum of one wire access point, [grommet], or [other form of wire access].

.6	The vendor to ensure the dimensions of all worksurfaces will be standardized for interchangeability.

.7	Should horizontal wire management troughs be specified, they shall be provided for mounting under worksurfaces when requested in writing by the Purchaser.

.7	Worksurface Support

.1	Freestanding Legs:

.1	Freestanding legs shall be provided in [post-leg,] [C-leg,] [H-leg] for all worksurface depths.

.2	Freestanding base options must be available with electric sit-stand options.

.3	Primary surface electric motor to be extended range (dual stage) with a height range of 559 mm – 1295 mm (22” – 51”), with an acceptable variance of ± 76mm (3”).

.4	Secondary surface electric motor (where applicable) to be standard range (single stage) with a height range of 635 mm to 1143 mm (25” – 45”), with an acceptable variance of ±76 mm (3”). Manual height adjustment option (where applicable) to be available in [pin] adjustability in a height range of 635 mm to 787 mm (25” – 31”).

.5	Freestanding legs shall have the same leg suitable for left-hand, right-hand, or shared applications when connecting two worksurfaces.

.8	Modesty Panels

.1	Vendors shall provide modesty panel options of MDF, acrylic, wood, laminate, and metal.

.2	Vendors shall provide options for degree of opacity for modesty panel including translucent or opaque.

.3	The vendor shall provide modesty height options of half or three-quarter on secondary worksurfaces that are forward facing. See Typical Workspaces for Director, Executive Director, Assistant Deputy Minister, and Deputy Minister in the TDR.

.9	Sit Stand Tables

.1	To provide a surface for use with display, input devices, associated equipment, and material, (BIFMA G1-2013 8.3, ISO 9241-5, 5.4.1) when the user is either sitting down or standing up while working.

.2	Shall not have exposed pinch points that would cause harm or injury to the user.

.3 	Shall have levelers with a minimum height adjustment of 38 mm (1 1/2”) to allow for leveling on uneven surfaces.

.4	Base to support a minimum weight of 68kg (150lbs).

.5	Base shall be controlled electrically.

.1 	Primary surface electric controller to adjust the height of the worksurface with a memory function for pre-set heights (either factory set or user set); Programmable controller.

.2	Secondary surface electric controller to adjust the height of the worksurface with no memory function for pre-set heights; Non- programmable controller.

.10	Storage

.1	All storage shall be equipped with removable core locks. All storage components within one room or workstation shall be keyed alike; one (1) core key and one (1) master key shall be provided per project at no additional charge.

.2	Locks for drawers and doors shall be [pin], [tumbler] or [wafer type] and shall have a corrosion resistant finish. The locks shall be designed to allow for installation or replacement on site. Master keys shall be available to the Purchaser.

.3	All drawers shall have stops to prevent their accidental removal, but still permit removal of the drawers when required.

.4	All drawers slides shall be full extension and corrosion resistant.

.5	Handles or pulls shall be Barrier Free compliant to accommodate individuals with limited dexterity.

.6	All drawer assemblies shall have resilient bumpers to minimize impact noise when drawers reach the end of their inward and outward travel.

.7	All storage components shall be modular, non-handed, capable of assembly in multiple configurations. Shall be freestanding units, capable of installation without wall or panel attachments.

.8	All freestanding storage components shall have adjustable levelling glides capable of a minimum of 25 mm (1”) of vertical adjustment.

.9	The Furniture Systems product line shall provide options for left and right door swings.

.10	The Furniture Systems product line shall provide finish options for wood, metal, or laminate finishes.

.11	Each pencil drawer shall be equipped with one compartmentalized, removable pencil tray.

.12	All file drawers shall accommodate both legal and letter sized filing systems with minimal adjustment. File drawers shall have full bottoms. Each file drawer shall be provided with at least two removable dividers, a hanging file rail system or one compressor. Drawer slides shall be over extension and corrosion resistant.

.11	Lateral Filing Cabinets

.1	Shall be available in two (2), three (3), or four (4) configurations for lateral filing cabinets.

.2	The lateral filing cabinets shall have a counterweight base to prevent tipping when drawers are fully loaded and extended.

.3	The lateral filing cabinets with two (2) drawers shall fit under worksurfaces and have a radiused metal edge.

.12	Bookcases

.1	Open bookcases shall have two (2), three (3), or four (4) shelves configurations for open bookcases with adjustable shelves.

.2	Bookcases shall have a counterweight base to prevent tipping over when all shelves are fully loaded.

.13	Coat and Storage Towers

.1	Coat tower shall match the requested panel height (base panel plus stacks).

.2	Coat tower shall have a coat rod to accommodate coat hangers.

.3	Coat tower shall have attachment brackets to prevent tipping over.

.4	For a coat tower with built in filing function, the drawers shall be designed to accommodate both legal and letter sized filing systems with minimal adjustment. All file drawers shall have full bottoms. Each file drawer shall be provided with at least two removable dividers, a hanging file rail system or one compressor. Drawer slides shall be over extension and corrosion resistant.

.5	For coat tower with built in bookcase function, shelves to be adjustable to suit user’s needs.

.14	Pedestals

.1	Pedestals shall be available in freestanding and mobile.

.2	Pedestals shall be available in box, box, file drawer configuration; file, file drawer configuration; and box, file drawer configuration.

.3	Pedestal depth clearance shall range from 559mm - 610 mm (22” - 24”) deep to fit flush under worksurface.

.4	Mobile pedestal shall have four (4) non-locking casters [and cushion top]. Shall fit under worksurfaces and have a radiused metal top edge.

1.5	ENCLOSED OFFICE FURNITURE

SPEC NOTE: This section describes the minimum requirements for Furniture Systems in enclosed offices.

.1	Worksurfaces

.1	Material used for worksurfaces shall be resistant to scratch, impact, moisture, chemicals, and stains.

.2	Vendors shall ensure the dimensions of all worksurfaces are standardized for interchangeability.

.3	Plastic laminate or veneers shall be used on the face. Underside of worksurfaces to have an appropriate backer sheet.

.4	Worksurface shall have an edge radius of minimum 3 mm (1/8") integral PVC hard edging or other flexible materials. T-mould is not an acceptable edge. A matching solid wood edge shall be used on veneer worksurfaces.

.5	The worksurface shall have a minimum thickness of 25 mm (1") with an acceptable variance that does not exceed an overall thickness of 38mm (1 1/2”)- and shall be made of high density core material or steel reinforced construction, finished with a minimum of 0.8 mm (.032") thick high-pressure textured laminate or wood veneer.

.6	The worksurface shall be supported to ensure no visible deflection under a load of 180kg (397lbs). Worksurfaces of more than 1194 mm (47") width shall have steel reinforcement.

.7	The worksurface material shall meet the physical property requirements as stated in ANSI/NEMA LD3-2005. The following grades are considered acceptable: HGS and HGL under General Purpose.

.8	For other worksurface material, the ANSI/BIFMA standards shall be used.

.9	Freestanding worksurfaces shall have a [three quarter] or [half] modesty panel [recessed at 127 mm (5") from the outer edge] or [flush] of the worksurface.

.10	The modesty panels shall be finished to match structural elements or worksurface.

.11	Horizontal wire management troughs shall be provided for mounting under worksurfaces when requested in writing by the Purchaser.

.2	Storage

.1	All storage components shall be modular and capable of assembly in multiple configurations.

.2	All drawers shall have stops and still permit removal of the drawers when required.

.3	All drawer slides shall be full extension and corrosion resistant.

.4	Handles or pulls shall be Barrier Free compliant to accommodate individuals with limited dexterity.

.5	All drawer assemblies shall have resilient bumpers to minimize impact noise.

.6	The Furniture Systems product line shall provide left and right door swings.

.7	The Furniture Systems product line shall provide finish options for wood, metal, or laminate finishes.

.8	All free standing storage components shall have adjustable leveling glides capable of a minimum of 25 mm (1”) of vertical adjustment.

.9	Each pencil drawer shall be equipped with one compartmentalized removable pencil tray.

.10	All file drawers shall accommodate both legal and letter sized filing systems with minimal adjustment. File drawers shall have full bottom. Each file drawer shall be provided with at least two removable dividers, a hanging file rail system or one compressor.

.11	All storage components shall be freestanding units, capable of installation without wall attachments.

.12	All storage shall be equipped with removable core locks. All storage components within one room or workstation shall be keyed alike; one (1) core key and one (1) master key shall be provided per project at no additional charge.

.13	Locks for drawers and doors shall be [pin], [tumbler] or [wafer type] and shall have a corrosion resistant finish. The locks shall be designed to allow for installation or replacement on site. Master keys shall be available to the Purchaser.

.3	Lateral Filing

.1	Shall be available in two (2), three (3), or four (4) drawers and shall have a counterweight to prevent tipping when all drawers are fully loaded and extended.

.2	The lateral filing cabinets with two (2) drawers shall fit under worksurfaces.

.3	The file drawers shall be designed to accommodate both legal and letter sized filing systems with minimal adjustment. All file drawers shall have full bottoms. Each file drawer shall be provided with at least two removable dividers, a hanging file rail system or one compressor.

.4	Open Bookcases

.1	Vendor shall have two (2), three (3), or four (4) shelves configurations for open and closed bookcases complete with adjustable shelves.

.2	Bookcases shall have a counterweight to prevent tipping when shelves are fully loaded.

.5	Coat and Storage Towers

.1	Coat tower shall have a coat rod to accommodate for coat hangers.

.2	Coat tower shall have a counter weight base to prevent tipping.

.3	Coat tower may be a combination unit (i.e. serves a coat storage/bookcase/file cabinet function).

.4	For coat tower with built in filing function, the drawers shall be designed to accommodate both legal and letter sized filing systems with minimal adjustment. All file drawers shall have full bottoms. Each file drawer shall be provided with at least two removable dividers, a hanging file rail system or one compressor.

.5	For coat tower with built in bookcase function, shelves to be adjustable.

.6	Pedestals

.1	Pedestals shall be available in freestanding, and mobile.

.2	Shall be available in box, box, file drawer configuration; file, file drawer configuration; and box, file drawer configuration.

.3	Mobile pedestal shall have four (4) non-locking caters. Shall fit under worksurfaces and have a radiused metal top edge [and cushion top].

.4	Drawer slides shall be over extension and corrosion resistant.

.5	Freestanding or mobile storage cabinets shall have a 25 mm (1") thick top with 0.8mm (.032") thick high-pressure textured laminate and PVC edging.

.6	Pedestal depth clearance shall be 559mm (22”) - 610 mm (24”) deep to fit flush under worksurface.

- Products

N/A

- Execution

N/A

END OF SECTION