## A.19 (blank)
Scale Accuracy Inspection
CONTRACT NO. | [5 empty] | PROJECT NO. | [5 empty] | DATE INSPECTED (dd-mm-year)
CONTRACTOR | [5 empty] | SCALE LOCATION |  |  |  | (provide as much detail as possible)
Pit Name:
[7 empty] | ¼ | Sec. |  | Twp. |  | R. |  | W. |  | M.
additional detail:
LAST DATE CERTIFIED BY MEASUREMENT CANADA( 2.) | [5 empty] | HOW LONG WILL THE SCALE BE AT THIS LOCATION:
MAKE & MODEL OF SCALE | [5 empty] | MIN.GRAD. |  |  | SERIAL NO. |  |  |  | CAPACITY (kg)
|  | 1 |  | 2 |  | 3 |  |  | 4 |  |  | 5 |  |  | 6
Preliminary Performance Test
Verification
|  |  | Satisfactory |  | Unsatisfactory |  |  |  | WEIGHT TEST
APPROACHES | [8 empty] | TEST WEIGHTS APPLIED |  |  |  |  | (kg)
BASE TIMBERS
MOVING PARTS CLEAR & LEVEL | [8 empty] | SCALE INDICATION |  |  |  |  | (kg)
ENDS OF DECK CLEAR | [8 empty] | VARIANCE |  |  |  |  | (kg)
BEAM CONDITION, CLEARANCE
BEAM SHACK INSTALLATION | [8 empty] | STRAIN LOAD TEST
SENSITIVITY ZERO
SENSITIVITY FULL LOAD | [8 empty] | INDICATED VEHICLE WEIGHT |  |  |  |  | (kg)
SEALS AND MARKINGS | [8 empty] | PLUS TEST WEIGHTS |  |  |  |  | (kg)
[9 empty] | SCALE SHOULD INDICATE |  |  |  |  | (kg)
Original copy to: | [8 empty] | ACTUAL SCALE INDICATION |  |  |  |  | (kg)
Measurement Canada |  |  | REMARKS: | [5 empty] | ERROR |  | + or (-) |  |  | (kg)
9305 50th Street
EDMONTON, AB T6B 2L5
Ph (780) 495-2491
Fax (780) 495-7724
OR |  |  | INSPECTION FIRM:
Measurement Canada
#400, 639-5th Avenue |  |  | INSPECTED BY: | [11 empty] | print name
CALGARY, AB T2P 0M9 | [14 empty] | signature
| Ph (403) 292-5605 |  | CONSULTANT:
Fax (403) 292-6175
CONSULTANT'S REPRESENTATIVE:
Also forward a copy to:
the Consultant
|  |  | 1 | Scale accuracy testing to be conducted in the presence of the Consultant.
Consultant to forward a
copy to the Project Sponsor. |  |  | 2 | The most recent certificate issued be Measurement Canada is to be displayed.
Refer to manual "Inspection and Testing Portable Weigh Scales", Alberta Transportation.
Revised April 2014 | [15 empty] | Appendix A.19

## A.19 (sample)
Scale Accuracy Inspection
CONTRACT NO. | [7 empty] | PROJECT NO. | [5 empty] | DATE INSPECTED (dd-mm-year)
XXXXXX | [7 empty] | Hw XX:xx | [5 empty] | 2013-06-01
CONTRACTOR | [7 empty] | SCALE LOCATION |  |  |  | (provide as much detail as possible)
[8 empty] | Pit Name: |  | XYZ PIT
[8 empty] | NE | ¼ | Sec. | 26 | Twp. | 7 | R. | 1 | W. | 5 | M.
[8 empty] | additional detail: |  |  | (5.0 km West of Bartsville)
LAST DATE CERTIFIED BY MEASUREMENT CANADA( 2.) | [7 empty] | HOW LONG WILL THE SCALE BE AT THIS LOCATION:
2012-01-01 | [7 empty] | 60 days
MAKE & MODEL OF SCALE | [7 empty] | MIN.GRAD. |  |  | SERIAL NO. |  |  |  | CAPACITY (kg)
AUSI, DR-1000 | [7 empty] | 10 |  |  | B15586 |  |  |  | 100000
|  | 1 |  |  | 2 |  |  | 3 |  |  | 4 |  |  | 5 |  |  | 6
Preliminary Performance Test |  |  | 20120 |  |  | 20120 |  |  | 20100 |  |  | 20100
Verification |  |  | 20120 |  |  | 20105 |  |  | 20100 |  |  | 20080
|  |  |  | Satisfactory |  |  | Unsatisfactory |  |  |  | WEIGHT TEST
APPROACHES | [10 empty] | TEST WEIGHTS APPLIED |  |  |  |  | (kg) | 2000
BASE TIMBERS
MOVING PARTS CLEAR & LEVEL | [10 empty] | SCALE INDICATION |  |  |  |  | (kg) | 2010
ENDS OF DECK CLEAR | [10 empty] | VARIANCE |  |  |  |  | (kg) | -10
BEAM CONDITION, CLEARANCE
BEAM SHACK INSTALLATION | [10 empty] | STRAIN LOAD TEST
SENSITIVITY ZERO
SENSITIVITY FULL LOAD | [10 empty] | INDICATED VEHICLE WEIGHT |  |  |  |  | (kg) | 20120
SEALS AND MARKINGS | [10 empty] | PLUS TEST WEIGHTS |  |  |  |  | (kg) | 2000
[11 empty] | SCALE SHOULD INDICATE |  |  |  |  | (kg) | 22120
Original copy to: | [10 empty] | ACTUAL SCALE INDICATION |  |  |  |  | (kg) | 22130
Measurement Canada |  |  |  | REMARKS: | [6 empty] | ERROR |  | + or (-) |  |  | (kg) | + | 10
9305 50th Street
EDMONTON, Alberta T6B 2L5
Ph (780) 495-2491
Fax (780) 495-7724
OR |  |  |  | INSPECTION FIRM: |  |  |  |  | XXX
Measurement Canada |  |  |  | INSPECTED BY: |  |  |  |  | John Doe | [7 empty] | print name
#400, 639-5th Avenue | [8 empty] | John Doe | [7 empty] | signature
CALGARY, AB T2P 0M9 |  |  |  | CONSULTANT: |  |  |  |  | XXX
Ph (403) 292-5605
| Fax (403) 292-6175 |  |  | CONSULTANT'S REPRESENTATIVE: |  |  |  |  | XXX
Also forward a copy to:
the Consultant
|  |  |  | 1 | Scale accuracy testing to be conducted in the presence of the Consultant.
Consultant to forward a
copy to the Project Sponsor. |  |  |  | 2 | The most recent certificate issued be Measurement Canada is to be displayed.
Refer to manual "Inspection and Testing Portable Weigh Scales", Alberta Transportation.
Revised April 2014 | [17 empty] | Appendix A.19
SAMPLE