## Introduction
Alberta Environment and Protected Areas - Water Well Testing Template |  |  | Notes on filling out the template:
Version: | 3 |  | General:
Date: | 2026-03-03 |  | Quotation marks will cause the loader to quit, and the file will not load. DO NOT use quotation marks anywhere
Web link: | https://www.alberta.ca/baseline-water-well-testing |  | on the template. Type inches instead of using the quotation mark character.
Spelling/grammar mistakes will not be corrected by EPA staff. Whatever you put on the template is what the
| This template is designed for Baseline Water Well Test results and voluntary water well testing conducted for purposes other than CBM. |  | public will see. Be sure to use caution in filling out the template.
File name - The name of the template must be unique to the test conducted. The date of the well assessment
and name of the landowner is a minimal requirement. Eg. Jan 23, 2009 Landowner House Well#1
The CBM well applicant is responsible for acquiring consent from the landowner/occupant of the property upon which the groundwater well is situated, to proceed with CBM groundwater baseline testing on the groundwater well, and by providing consent, the landowner/occupant is consenting both to the testing being performed, and to the resulting information (possibly including contact information) being made available to the public.
Contact Info:
All distance/depth measurements are required to be reported in metres
GPS locations are required to be in Lat/Long format (decimal degrees to 6 decimal places). Elevations are required.
A landowner's refusal to allow the testing requires a template submission with Contact Info worksheet filled out
Disclaimer: | Alberta Environment and Protected Areas is in no way responsible for the data contained in this template, or for any safety or health concerns indicated by the data. If there are health or safety questions arising from the data in this template, the landowner or occupant of the property should contact their local Health Office.
Yield Test:
All flow rates are required to be reported in Litres per minute
All distance/depth measurements are required to be reported in metres
Contents of Reporting Template:* |  |  | Water Quality:
| Introduction Worksheet |  | All parameters MUST be reported in the units of measure stated.
| Contact Information Worksheet |  | Please contact the lab if units of measure needs to be converted for reporting.
| Yield Test Worksheet |  | Less than (<) symbols are permitted for parameters that are reported below detection limits
| Water Quality Worksheet |  | Reporting of Detection Limit is required. If value is calculated indicate so with "Calculated" in this field
Bacteriological Analysis Worksheet
| Gas Analysis Worksheet |  | Bacteriological Analysis:
| Exceedance Letter Worksheet |  | All parameters MUST be reported in the units of measure stated.
Please contact the lab if units of measure needs to be converted for reporting.
|  | *Notes: 1. Do not delete or rename any of the worksheets! The template will not load properly! 2. The Specified Gas Reporting Template consists of sections A - N. | Less than (<) symbols are permitted for parameters that are reported below detection limits
Reporting of Detection Limit is required. If value is calculated indicate so with "Calculated" in this field
Gas Analysis:
All parameters MUST be reported in the units of measure stated (ppm v/v)
Please contact the lab if units of measure needs to be converted for reporting.
Less than (<) symbols are permitted for parameters that are reported below detection limits
Where to send your completed template: |  |  | Reporting of Detection Limit is required. If value is calculated indicate so with "Calculated" in this field
| Email the template to: |  | Laboratory pdf files:
|  | CBMBaseline.Testing@gov.ab.ca | Must be attached to e-mail submission, and the lab sample number must be in the filename
Must contain all laboratory analysis information for the file submitted. (E.g. QA/QC info, Isotopic analysis)
Exceedance Letter:
Contacts: | Questions regarding Coal Bed Methane Baseline Water Well Testing may be directed to: |  | Name, address and date of sample will all be filled in automatically.
The top section MUST be filled in. Use of the following pre-formatted letter is optional.
CBMBaseline.Testing@gov.ab.ca

## Contact Info
Background Information
A-01 | Purpose of Well Test:
A-02 | Indicate if this activity is Above or Below the base of Groundwater Protection:
A-03 | Indicate if this is a Pre or Post Test:
A-04 | For CBM: Is this report being submitted due to a landowner refusal? |  |  | Note: If yes, please fill out the rest of the Contact Info worksheet. Filling out the rest of the Template is not required.
A-05 | Resource company contracting the test:
A-06 | Date of Well Assessment: |  | ◄------- | Note: This is a REQUIRED FIELD. If left blank the template will be rejected.
Contact Information
Landowner/Occupant
A | Landowner Information | First name | Last name | [5 empty] | A
A-07 | Current Water Well Owner: (name)
A-08 | Address 1:
A-09 | Address 2:
A-10 | City/Town:
A-11 | Province/State:
A-12 | Country:
A-13 | Postal/ZIP code:
A-14 | Telephone Number:
| Occupant Information (if different from above) | First name | Last name | [5 empty] | 0
A-15 | Occupant: (name)
A-16 | Address 1:
A-17 | Address 2:
A-18 | City:
A-19 | Postal code:
A-20 | Telephone Number:
Landowner/ Occupant Comments:
A-21
Water Well
B | Water Well Information
B-01 | Groundwater Information Centre (GIC) Well ID Number: (include zeros at beginning of number) | https://groundwater.alberta.ca/WaterWells/d/
B-02 | GOA Well Tag Number:
B-03 | Legal Land Location: (LSD or Quarter Section-Township-Range-Meridian) | [5 empty] | ◄------- | Note the location must be reported either like: SE-18-52-24-4 or 12-18-52-24-4
|  | Latitude (N) (6 decimal places) |  | Longitude (W) (6 decimal places) |  | Elevation (amsl)(meters) |  |  | 0
B-04 | GPS Coordinates of the water well (NAD 83): Latitude & Longitude to 6 decimal places:
B-05 | Location of well (description e.g. north side of house): Should include distance from residence
B-06 | Current water well use:
B-07 | Approximate Year Drilled:
B-08 | Total drilled depth of water well (below ground level): |  |  |  | metres
B-09 | Is the well in a pit?
Field Personnel
C | Field Personnel Performing Sampling and Testing | [7 empty] | C
APEGA/ASET Member |  | First name | Last name | [5 empty] | APEGA/ASET Member
C-01 | Name of APEGA/ASET member overseeing the program:
C-02 | APEGA/ASET Member Number of the overseer:
C-03 | Company:
C-04 | Telephone Number:
Field/Sampling Personnel |  | First name | Last name | [5 empty] | Field/Sampling Personnel
C-05 | Name of Field contact:
C-06 | Professional Designation:
C-07 | Company:
C-08 | Telephone Number:
Yield Test Personnel |  | First name | Last name | [5 empty] | Yield Test Personnel
C-09 | Yield Test Contact:
C-10 | Professional Designation:
C-11 | Company:
C-12 | Telephone Number:
Note on C8: YES/NO
Note on C9: Enter the name of the CBM or Resource Development company here
Note on C10: Format: DD-MON-YYYY eg. 23-Jan-2009
Note on C24: Formatted cell, just type in the numbers e.g. 4035557878 No dashes, periods or other characters please!
Note on C31: Formatted cell, just type in the numbers e.g. 4035557878 No dashes, periods or other characters please!
Note on B34: Text only, no quotation marks, pictures or drawings.
Note on D41: Lookup the well on the GIC website and fill in the well information where applicable.
Note on G45: amsl= above mean sea level
Note on C47: Select use from Drop Down List
Note on C59: Formatted cell, just type in the numbers e.g. 4035557878 No dashes, periods or other characters please!
Note on C64: Formatted cell, just type in the numbers e.g. 4035557878 No dashes, periods or other characters please!
Note on C69: Formatted cell, just type in the numbers e.g. 4035557878 No dashes, periods or other characters please!

## Yield Test
Yield Test | [5 empty] | Yield Test
D-01 | Was a yield test performed?
D-02 | If no, explain: |  | If a spring, indicate flow rate: |  | L/min
Water Well:
D | Water Well Information
D-03 | Distance between ground level and top of casing (in metres): |  |  | metres
D-04 | Location from which water level measurements taken (datum): For example, ToC
D-05 | Non-pumping water level (in metres): |  |  | metres
D-06 | Is this well flowing ?
NOTE: Water must be discharged from the well without going through the pressure system unless there is no practical alternative.
D-07 | Was the pressure system disconnected during the test?
D-08 | If not, explain circumstances:
D-09 | Constant Pumping Rate: |  |  | L/min | 0
Yield Test Comments
D-10
*note - pumping rate cannot fluctuate more than +/- 5% over the course of the drawdown cycle of the test
Presence of Gas:
E | Presence of Gas
E-01 | Was free gas observed in flow through cell?:
E-02 | Flow rate of water through flow through cell: |  |  | L/min
E-03 | Total volume of water passed through the flow cell: |  |  | Litres
E-04 | Total volume of gas collected in flow cell: |  |  | Litres
E-05 | Location of sampling in water distribution system (e.g., at hydrant):
E-06 | Was sample collected after the pressure tank?:
Two Hour Yield Test:
F | Drawdown Water levels should be measured from datum |  |  | Recovery Water levels must be recorded until the water level reaches 90% of the static level
| Time of Measurement (min) | Water Level (m) | Discharge Rate (L/min) | Time of Measurement (min) | Water Level (m)
F-001
F-002
F-003
F-004
F-005
F-006
F-007
F-008
F-009
F-010
F-011
F-012
F-013
F-014
F-015
F-016
F-017
F-018
F-019
F-020
F-021
F-022
F-023
F-024
F-025
F-026
F-027
F-028
F-029
F-030
F-031
F-032
F-033
F-034
F-035
F-036
F-037
F-038
F-039
F-040
F-041
F-042
F-043
F-044
F-045
F-046
F-047
F-048
F-049
F-050
F-051
F-052
F-053
F-054
F-055
F-056
F-057
F-058
F-059
F-060
F-061
F-062
F-063
F-064
F-065
F-066
F-067
F-068
F-069
F-070
F-071
F-072
F-073
F-074
F-075
F-076
F-077
F-078
F-079
F-080
F-081
F-082
F-083
F-084
F-085
F-086
F-087
F-088
F-089
F-090
F-091
F-092
F-093
F-094
F-095
F-096
F-097
F-098
F-099
F-100
F-101
F-102
F-103
F-104
F-105
F-106
F-107
F-108
F-109
F-110
F-111
F-112
F-113
F-114
F-115
F-116
F-117
F-118
F-119
F-120
F-121
F-122
F-123
F-124
F-125
F-126
F-127
F-128
F-129
F-130
F-131
F-132
F-133
F-134
F-135
F-136
F-137
F-138
F-139
F-140
F-141
F-142
F-143
F-144
F-145
F-146
F-147
F-148
F-149
F-150
F-151
F-152
F-153
F-154
F-155
F-156
F-157
F-158
F-159
F-160
F-161
F-162
F-163
F-164
F-165
F-166
F-167
F-168
F-169
F-170
F-171
F-172
F-173
F-174
F-175
F-176
F-177
F-178
F-179
F-180
F-181
F-182
F-183
F-184
F-185
F-186
F-187
F-188
F-189
F-190
F-191
F-192
F-193
F-194
F-195
F-196
F-197
F-198
F-199
F-200
F-201
F-202
F-203
F-204
F-205
F-206
F-207
F-208
F-209
F-210
F-211
F-212
F-213
F-214
F-215
F-216
F-217
F-218
F-219
F-220
F-221
F-222
F-223
F-224
F-225
F-226
F-227
F-228
F-229
F-230
F-231
F-232
F-233
F-936
F-937
F-938
F-237
F-238
F-239
F-240
F-241
F-242
F-243
F-244
F-245
F-246
F-247
F-248
F-249
F-250
F-251
F-252
F-253
F-254
F-255
F-256
F-257
F-258
F-259
F-260
F-261
F-262
F-263
F-264
F-265
F-266
F-267
F-268
F-269
F-270
F-271
F-272
F-273
F-274
F-275
F-276
F-277
F-278
F-279
F-280
F-281
F-282
F-283
F-284
F-285
F-286
F-287
F-288
F-289
F-290
F-291
F-292
F-293
F-294
F-295
F-296
F-297
F-298
F-299
F-300
F-301
F-302
F-303
F-304
F-305
F-306
F-307
F-308
F-309
F-310
F-311
F-312
F-313
F-314
F-315
F-316
F-317
F-318
F-319
F-320
F-321
F-322
F-323
F-324
F-325
F-326
F-327
F-328
F-329
F-330
F-331
F-332
F-333
F-334
F-335
F-336
F-337
F-338
F-339
F-340
F-341
F-342
F-343
F-344
F-345
F-346
F-347
F-348
F-349
F-350
F-351
F-352
F-353
F-354
F-355
F-356
F-357
F-358
F-359
F-360
F-361
F-362
F-363
F-364
F-365
F-366
F-367
F-368
F-369
F-370
F-371
F-372
F-373
F-374
F-375
F-376
F-377
F-378
F-379
F-380
F-381
F-382
F-383
F-384
F-385
F-386
F-387
F-388
F-389
F-390
F-391
F-392
F-393
F-394
F-395
F-396
F-397
F-398
F-399
F-400
Note on C4: Yes No
Note on D9: Should be negative if below ground (in pit)
Note on B19: Please capture anything that might be of significance observed during, or related to, the testing or sampling performed. Eg. Yield test less than two hours - why? Text only, no quotation marks, pictures or drawings.
Note on E37: Restart time at 0 minutes for Recovery

## Water Quality
Field Parameters
Field Parameters: | [7 empty] | Field Parameters:
G | Field Parameters (when stabilized) | Measured Value | Units
G-01 | Electrical conductivity: |  | µS/cm |  |  |  |  | G-01
G-02 | Dissolved Oxygen: |  | % |  |  |  |  | G-02
G-03 | pH: |  | pH |  |  |  |  | G-03
G-04 | temperature: |  | oC |  |  |  |  | G-04
Visual Observations:
G-05 | Colour:
G-06 | Odour:
G-07 | Sediment:
G-08 | Turbidity:
G-09 | Debris:
Water Quality
Laboratory Water Quality Analysis:
H | Water Quality Analysis
Landowner Name:
|  | Lab Name | Location (City)
H-01 | Name of Laboratory Performing Analysis and Location (City):
H-02 | Lab Assigned Sample Number:
H-03 | Date Received (by Lab):
H-04 | Description of sampling location:
H-05 | Comments on the water sample collection:
To view the Guidelines for Canadian Drinking Water Quality (GCDWQ) See:
https://www.canada.ca/en/health-canada/services/environmental-workplace-health/water-quality/drinking-water/canadian-drinking-water-guidelines.html
Routine Potability:
I | Routine Potability
| Species | Measured Value | Unit of Measure | Detection Limit | GCDWQ Criteria | Type of Objective: MAC or AO*
I-01 | Bicarbonate: |  | mg/L
I-02 | Calcium: |  | mg/L
I-03 | Carbonate: |  | mg/L
I-04 | Chloride: |  | mg/L |  | 250 | AO
I-05 | Electrical Conductivity: |  | µS/cm
I-06 | Fluoride: |  | mg/L |  | 1.5 | MAC
I-07 | Hydroxide: |  | mg/L
I-08 | Ionic Balance: |  | %
I-09 | Iron: |  | mg/L |  | 0.3 | AO
I-10 | Iron (Total): |  | mg/L |  | 0.3 | AO
I-11 | Magnesium: |  | mg/L
I-12 | Manganese: |  | mg/L |  | 0.05 | AO
I-13 | Manganese (total): |  | mg/L |  | 0.05 | AO | <--- PLEASE MAKE SURE MEASURED VALUE IS GREATER THAN OR EQUAL TO THE DETECTION LIMIT
I-14 | Nitrate as Nitrogen: |  | mg/L |  | 10 | MAC
I-15 | Nitrite + Nitrate as Nitrogen: |  | mg/L |  | 10 | MAC
I-16 | Nitrite as Nitrogen: |  | mg/L |  | 1 | MAC
I-17 | pH: |  | pH units |  | 6.5-8.5 | AO
I-18 | Potassium: |  | mg/L
I-19 | Sodium: |  | mg/L |  | 200 | AO
I-20 | Sulphate: |  | mg/L |  | 500 | AO
I-21 | Temperature of sample upon receipt by lab: |  | oC
I-22 | Total alkalinity: |  | mg/L
I-23 | Total dissolved solids: |  | mg/L |  | 500 | AO
I-24 | Total hardness: |  | mg/L |  | 500 | AO
Additional parameters (optional):
I-25 | Methane (Dissolved): |  | mg/L
I-26 | Turbidity: |  | NTU |  | 0.3/1.0/0.1** | MAC
I-27 | Colour: |  | TCU |  | 15 | AO
I-28
I-29
I-30
* MAC = Maximum Acceptable Concentration, AO = Aesthetic Objective
** Based on conventional treatment/slow sand or diatomaceous earth filtration/membrane filtration
Water Analysis Comments
I-31
Note on C26: Format: DD-MON-YYYY eg. 23-Jan-2009
Note on B73: Please capture anything that might be of significance observed during, or related to, the testing or sampling performed. Eg. Condition of sample, Date of re-sample, etc. Text only, no quotation marks, pictures or drawings.

## Bacteriological Analysis
Bacteriological Analysis
Important note: Alberta no longer maintains a single consolidated field manual. The following archived document, may be useful for the purpose of this testing as a guideline to sampling for bacteriological analysis. Please refer specifically to pages 5-6 and 13-14: (note that the cost of analysis will not be borne by the public health labs, as described in the manual).
https://open.alberta.ca/dataset/b0d440ae-5d61-4b28-b66b-f54230a8adfa/resource/cd04d3be-6366-40f2-9090-f6c300ec419f/download/drinking-water-systems-2004.pdf
Contact/Lab Information:
J | Bacteriological Analysis
Landowner:
J-01 | Lab Assigned Sample Number:
|  | Name of Laboratory | Location (City)
J-02 | Name of Laboratory Performing Analysis and Location (City):
Analysis Results:
K | Bacteriological Analysis | Estimated Population or Count | Units* | Analytical Method - Note Estimates (E) | GCDWQ Criteria | Type of Objective MAC or AO**
K-01 | Iron Related Bacteria:
K-02 | Sulphate Reducing Bacteria:
K-03 | Total Coliforms: |  |  |  | <1 | MAC
K-04 | Eschereria coli: |  |  |  | <1 | MAC
Additional Parameters (optional):
K-05 | Fecal Coliforms: |  |  |  | <1 | MAC
K-06
K-07
K-08
*mpn(most probable number) is equivalent to cfu(colony forming units)
** MAC = Maximum Acceptable Concentration, AO = Aesthetic Objective
Bacterial Analysis Comments
K-09
Note on B31: Please capture anything that might be of significance observed during, or related to, the testing or sampling performed. Eg. Condition of sample Text only, no quotation marks, pictures or drawings.

## Gas Analysis
Gas Composition
Contact/Lab Information:
L | Free Gas Composition
Landowner:
L-01 | Lab Sample Number:
|  | Laboratory Name | Location (City)
L-02 | Name of Laboratory Performing Analysis and Location (City):
| Air-free or Acid gas-free will skew concentration results: Report 'As Sampled' only |  |  | 0
Free Gas Analysis Results:
| Compound | Concentration Value (ppm v/v) | Detection Limit (ppm v/v)
L-03 | Nitrogen:
L-04 | Oxygen:
L-05 | Carbon Dioxide:
L-06 | Methane:
L-07 | Ethane:
L-08 | Propane (total):
L-09 | Iso-Butane:
L-10 | Normal Butane:
L-11 | Butane (Total)
L-12 | Hydrogen:
L-13 | Helium:
L-14 | Hydrogen Sulphide:
L-15
L-16
L-17
L-18
Isotopic Analysis
Contact/Lab Information:
M | Isotopic Analysis
Landowner:
M-01 | Isotope Lab Sample Number:
|  | Laboratory Name | Location (City)
M-02 | Name of Laboratory Performing Analysis and Location (City):
M-03 | Standard (PDB, VPDB):
Analysis Results:
| Compound | Stable Carbon Isotope Ratio (delta-13C) in gas (delta-13C per mil PDB)
M-04 | Carbon Dioxide:
M-05 | Methane:
M-06 | Ethane:
M-07 | Propane:
M-08 | Iso-Butane:
M-09 | Normal Butane:
M-10
M-11
M-12
Gas Analysis Comments
M-13
Note on B61: Please capture anything that might be of significance observed during, or related to, the testing or sampling performed. Eg. Condition of sample Text only, no quotation marks, pictures or drawings.

## Exceedance Letter
N-01 | Is an Exceedance Letter Required based on the results of the Chemical/Bacterial Analysis?
N-02 | If yes, when was the landowner notified? (date) |  |  | How did you notify the landowner?
Landowner Notification of Exceedances
of the Guidelines for Canadian Drinking Water Quality
To:
Date:
| Re: | Results of water sampling conducted on
on behalf of:
The results of water sampling conducted on your well indicate the following parameters exceed the
Guidelines for Canadian Drinking Water Quality (GCDWQ):
|  | Parameter | Result | GCDWQ Standard | Maximum Acceptable Concentration (MAC) or Aesthetic Objective (AO)
N-03
N-04
N-05
N-06
N-07
N-08
N-09
N-10
N-11
N-12
N-13
N-14
N-15
N-16
Any parameter exceedance relating to groundwater quality should be discussed with your local Health Office.
For further information call the Health Link line at 1-866-408-LINK (5465) or go to the following website link:
http://www.healthlinkalberta.ca/default.htm
Additional information regarding well maintenance can be obtained from the Alberta Government,
Agriculture and Rural Development document titled "Water Wells... That Last", website link:
af-aep-water-wells-that-last-2019.pdf
Sincerely,
Note on H2: YES NO
Note on D3: Format: DD-MON-YYYY eg. 23-Jan-2009

## PickLists (hidden)
Use | BGWP | Labs | Pumping Rate | Volume Water Usage Per Month | YesNo | Standard | Bacti Units | feet_meters | Coalzones | PressureTank | Yieldtestreason | Purpose | Cities | Pre | Notify | OtherBacti | 2
Agricultural (stock, irrigation) | Above | Maxxam Analytics | GCHEM Ltd. | Imperial gallons/month | Yes | PDB | cfu/mL | cfu/100mL | Yes | Internal Bladder | Well inaccessible | Unregulated CBM NG Testing | Edmonton | Pre-Test | Phone | cfu/100mL
Commercial | Below | Norwest/Bodycote | University of Alberta | Cubic meters/month | No | VPDB | mpn/mL | mpn/100mL | No | Floating Roof | Well diameter too small for recording instrument | Shale Gas Development | Calgary | Post-Test | Fax | mpn/100mL
Industrial |  | ALS Laboratory Group | University of Calgary | Litres per month |  |  |  |  | Unknown |  | Landowner declined testing | Other Unconventional Gas Development (Deep, Tight gases) | Lethbridge |  | E-mail | cfu/mL
Domestic |  | AGAT Laboratories | University of Waterloo | [7 empty] | This is a spring | Seismic Testing |  |  | Letter | mpn/mL
Domestic and Agricultural (stock, irrigation) |  | Kaizen Labs | University of Victoria | [8 empty] | Conventional Oil Well Development |  |  | In person
Municipal |  | WSH Labs | Alberta Research Council | [8 empty] | Conventional Natural Gas Development |  |  | A combination of the above
Other |  | University of Alberta | [9 empty] | Municipal Planning
|  | GCHEM Ltd. | [9 empty] | Research project
CBM Development