SPEC NOTE:   the content of this Section is intended to be supplemental to the requirements of Section 01. If no Section 01 specifications address contractor qualifications for security this Section is intended to identify these requirements.

# General

## Scope

### This section describes Certificates required for successful project completion.

### This section shall be read together with the sections describing specific systems, components and the manufacture, installation, operation and maintenance thereof.

### Where a discrepancy is noted between the various sections, notify the Consultant for an interpretation.  In the absence of written clarification, the Consultant will assume that the most expensive solution is applicable for use on the project.

## General Requirements

### Include with Shop Drawing submission hard-copy proof of training and certification of Contractor staff members as provided by the manufacturer of the following systems (where supplied):

#### Network Video Recorder and or Network Video Management System (video surveillance)

#### Intrusion Alarm System

#### Structured Cable Systems / LAN cabling systems (subject to below).

### Include within Shop Drawing submission hard-copy proof of training for staff members who will be responsible for communications and data cabling (structured cable system) for the project.  Staff members must be trained and certified either through manufacturer supplied training or through data communications cabling training offered by NAIT, SAIT, BICSI or another recognized training and certification program deemed acceptable by the Consultant.

## Inspection

### Upon written request by Consultant, provide proof of CSA inspection and certification of any items supplied.

# Products

### Not used.

# Execution

## Delivery

### Provide information detailed above to Consultant and Province as directed.

### Forward original signed copy of the manufacturer’s confirmation letter to the Province prior to commencement of installation.

### END OF SECTION