SPEC NOTE:   the content of this Section is intended to be supplemental to the requirements of Section 01. If no Section 01 specifications address Demonstration and Training for security this Section is intended to identify these requirements.

# General

## Scope

### This Section describes Demonstration and Training required for successful project completion.

### This Section shall be read together with the sections describing specific systems, components and the manufacture, installation, operation and maintenance thereof.

### Where a discrepancy is noted between the various Sections, notify the Consultant for an interpretation.  In the absence of written clarification, the Consultant will assume that the most expensive solution is applicable for use on the project.

## General Requirements

### Complete a training sign-in sheet to track the Province’s representative’s attendance at all demonstrations and training sessions required herein.

### Provide copies of the above training sign-in sheets to Consultant or the Province upon request.

# Products

### Not used.

# Execution

## Operations Demonstration

### Provide on-site demonstration of system capabilities, programming and set-up as required.

### Review with the Consultant and the Province’s representative the programming options or choices in order to customize the system programming to the application.

### SPEC NOTE:  With regard to item 3.2.6 below – Confirm with Ministers representative if Recording of training sessions is required for the project. If recording is not required remove this item.

## On Site Training

### Provide training at the Province’s site.

### Supply all required training material, manuals, product guides, check sheets, and reference materials for trainee use.

### Supply all required audiovisual equipment or aids used for training sessions unless prior arrangements are made for use of Province’s equipment.

### Assume that Province’s personnel enrolled in training sessions have a basic skill level related to computer use including file management, Internet, e-mail and word processing using Windows based computer systems.

### Provide information on operations and maintenance training courses available from manufacturers of the equipment and systems installed as well as the costs for this training.  The Province is under no obligation to undertake this manufacturer training and the existence of this training does not release the Contractor from responsibility to provide comprehensive training for the Province.

### Audio-Video record all demonstrations, training and seminars required by this Section with sufficient picture quality and sound to capture the demonstrations, equipment and specific operations in high-definition video format.

### Turn over to the Consultant at the completion of each seminar a completed seminar attendance sheet indicating attendance, length of seminar, date of seminar, electronic copy of the audio-video recorded session and items covered on USB portable memory device. Sheet to be signed by each attendee indicating their acknowledgement of the presented matter.

END OF SECTION